## Rack 01
|  | Name | Site | Location | Part |  |  |  |  | Total Power Usage (kW) |  | Total BTU/hr
|  | R01 | DC1 | Melbourne | xyz |  |  |  |  | 8.448 |  | 28836
R01 - Front | [7 empty] | R01 - Rear
RU | PWR C. | Name | Description | Vendor | Part | BTU/hr | RU | RU | PDU-L | Name | Description | Vendor | Part | PDU-R | RU
A42 |  | 24 Port Cat6A Patch Panel |  | Panduit | NK6XPPG24Y |  | A42 | B42 |  | 96F OM4 LC Fiber Casette |  | Panduit | F1RCZO-9612-10S |  | B42
A41 |  | Cable Management |  | Panduit | CMPHF1 |  | A41 | B41 |  | Cable Management |  | Panduit | CMPHF1 |  | B41
A40 |  | Filler Panel 4U |  | Panduit | DPFP4WH |  | A40 | B40 | [6 empty] | B40
A39 | [6 empty] | A39 | B39 | [6 empty] | B39
A38 | [6 empty] | A38 | B38 | [6 empty] | B38
A37 | [6 empty] | A37 | B37 | [6 empty] | B37
A36 |  | Filler Panel 2U |  | Panduit | DPFP2WH |  | A36 | B36 | [6 empty] | B36
A35 | [6 empty] | A35 | B35 | [6 empty] | B35
A34 | 108 | r01-term-serv-01 | Terminal Server | Opengear | CM8116 | 369 | A34 | B34 | L1-1 |  |  |  |  | L1-1 | B34
A33 |  | Cable Management |  | Panduit | CMPHF1 |  | A33 | B33 | [6 empty] | B33
A32 | 240 | Inlet Duct 1U |  | Panduit | CID1RU22-23DB1 | 819 | A32 | B32 | L1-2 | r01-mgmt-01 | Mgmt Switch | Juniper | EX4400-48T-AFI | L1-2 | B32
A31 |  | Filler Panel 1U |  | Panduit | DPFP1WH |  | A31 | B31 |  | Cable Management |  | Panduit | CMPHF1 |  | B31
A30 | 300 | r01-compute-01 | Compute | HPE | DL360 | 1024 | A30 | B30 | L1-3 |  |  |  |  | L1-3 | B30
A29 | 300 | r01-compute-02 | Compute | HPE | DL360 | 1024 | A29 | B29 | L1-4 |  |  |  |  | L1-4 | B29
A28 | 300 | r01-compute-03 | Compute | HPE | DL360 | 1024 | A28 | B28 | L1-5 |  |  |  |  | L1-5 | B28
A27 | 300 | r01-compute-04 | Compute | HPE | DL360 | 1024 | A27 | B27 | L1-6 |  |  |  |  | L1-6 | B27
A26 | 300 | r01-compute-05 | Compute | HPE | DL360 | 1024 | A26 | B26 | L2-1 |  |  |  |  | L2-1 | B26
A25 | 300 | r01-compute-06 | Compute | HPE | DL360 | 1024 | A25 | B25 | L2-2 |  |  |  |  | L2-2 | B25
A24 | 300 | r01-compute-07 | Compute | HPE | DL360 | 1024 | A24 | B24 | L2-3 |  |  |  |  | L2-3 | B24
A23 | 300 | r01-compute-08 | Compute | HPE | DL360 | 1024 | A23 | B23 | L2-4 |  |  |  |  | L2-4 | B23
A22 | 300 | r01-compute-09 | Compute | HPE | DL360 | 1024 | A22 | B22 | L2-5 |  |  |  |  | L2-5 | B22
A21 | 300 | r01-compute-10 | Compute | HPE | DL360 | 1024 | A21 | B21 | L2-6 |  |  |  |  | L2-6 | B21
A20 | 300 | r01-compute-11 | Compute | HPE | DL360 | 1024 | A20 | B20 | L3-1 |  |  |  |  | L3-1 | B20
A19 | 300 | r01-compute-12 | Compute | HPE | DL360 | 1024 | A19 | B19 | L3-2 |  |  |  |  | L3-2 | B19
A18 |  | Filler Panel 1U |  | Panduit | DPFP1WH |  | A18 | B18 |  | Cable Management |  | Panduit | CMPHF1 |  | B18
A17 | 450 | Inlet Duct 2U |  | Panduit | CID2RU16-20DB1 | 1536 | A17 | B17 | L3-3 | r01-leaf-01 | Leaf Switch | Juniper | QFX5120-48Y-AFI | L3-3 | B17
A16 | 450 |  |  |  |  | 1536 | A16 | B16 | L3-4 | r01-leaf-02 | Leaf Switch | Juniper | QFX5120-48Y-AFI | L3-4 | B16
A15 |  | Filler Panel 1U |  | Panduit | DPFP1WH |  | A15 | B15 |  | Cable Management |  | Panduit | CMPHF1 |  | B15
A14 | 300 | r01-compute-13 | Compute | HPE | DL360 | 1024 | A14 | B14 | L3-5 |  |  |  |  | L3-5 | B14
A13 | 300 | r01-compute-14 | Compute | HPE | DL360 | 1024 | A13 | B13 | L3-6 |  |  |  |  | L3-6 | B13
A12 | 300 | r01-compute-15 | Compute | HPE | DL360 | 1024 | A12 | B12 | L1-7 |  |  |  |  | L1-7 | B12
A11 | 300 | r01-compute-16 | Compute | HPE | DL360 | 1024 | A11 | B11 | L1-8 |  |  |  |  | L1-8 | B11
A10 | 300 | r01-compute-17 | Compute | HPE | DL360 | 1024 | A10 | B10 | L1-9 |  |  |  |  | L1-9 | B10
A9 | 300 | r01-compute-18 | Compute | HPE | DL360 | 1024 | A9 | B9 | L1-10 |  |  |  |  | L1-10 | B9
A8 | 300 | r01-compute-19 | Compute | HPE | DL360 | 1024 | A8 | B8 | L1-11 |  |  |  |  | L1-11 | B8
A7 | 300 | r01-compute-20 | Compute | HPE | DL360 | 1024 | A7 | B7 | L1-12 |  |  |  |  | L1-12 | B7
A6 | 300 | r01-compute-21 | Compute | HPE | DL360 | 1024 | A6 | B6 | L2-7 |  |  |  |  | L2-7 | B6
A5 | 300 | r01-compute-22 | Compute | HPE | DL360 | 1024 | A5 | B5 | L2-8 |  |  |  |  | L2-8 | B5
A4 | 300 | r01-compute-23 | Compute | HPE | DL360 | 1024 | A4 | B4 | L2-9 |  |  |  |  | L2-9 | B4
A3 | 300 | r01-compute-24 | Compute | HPE | DL360 | 1024 | A3 | B3 | L2-10 |  |  |  |  | L2-10 | B3
A2 |  | Filler Panel 2U |  | Panduit | DPFP2WH |  | A2 | B2 | [6 empty] | B2
A1 | [6 empty] | A1 | B1 | [6 empty] | B1

## R01 Data
Location | Name | Vendor | Part
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?
#NAME? | #NAME? | #NAME? | #NAME?